## Slide 1: AN INVESTIGATIONAL STUDY INTO THE DESIGN OF A LOW COST, ADAPTIVE HEARING AID
Presented by:
Kayla-Jade Butkow (714227)
Kelvin da Silva (835842)

## Slide 2: Overview

## Slide 3: Objectives and Specifications

## Slide 4: System Block Diagram

## Slide 5: Simulated vs Hardware Hearing Aid
Property | Simulation | Hardware
Number of microphones | 10 | 4
Device Bandwidth | 0.25–8 kHz | 2.8-3.5 kHz and 5.6-7 kHz
Filter Order | 14 | 2
Filter Bandwidth | 1/3 Octave | 1/3 Octave
Types of filters | Butterworth FIR bandpass | Butterworth bandpass
Number of filters | 16 per microphone | 2 per microphone
Number of steerable angles | 19 (10° increments) | 5 (0°, 60°, 90°, 120°, 180°)
Real time data acquisition | No | Yes

## Slide 6: Compensatory Amplification

## Slide 7: Directionality

## Slide 8: Cost Breakdown
Component | Cost (R)
Arduino Due | 569.00
MAX9814 Microphone Amplifier x4 | 546.00
LM358 x5 | 16.05
LM386 | 15.75
Headphone Jack | 16.31
9V Battery | 70.00
Veroboard | 49.70
Headphones | 69.90
Casing | 59.90
Miscellanous | 50.00
Total | 1462.61

## Slide 9: Testing
Directionality
Compensatory gain

## Slide 10: Results: Simulation

## Slide 11: Results: Simulation
0°
60°
90°

## Slide 12: Results: Hardware

## Slide 13: Results: Hardware
90°
60°
120°

## Slide 14: Future Work

## Slide 15: Conclusion