## Slide 1: AN INVESTIGATIONAL STUDY INTO THE DESIGN OF A LOW COST, ADAPTIVE HEARING AID
Presented by:
Kayla-Jade Butkow (714227)
Kelvin da Silva (835842)

## Slide 2: Overview

## Slide 3: Objectives and Specifications

## Slide 4: System Block Diagram

## Slide 5: Simulated vs Hardware Hearing Aid
Property | Simulation | Hardware
Number of microphones |  | 
Bandwidth |  | 
Filter Order |  | 
Types of filters |  | 
Number of filters |  | 
Number of steerable angles |  | 
Real time data acquisition |  | 

## Slide 6: Compensatory Amplification

## Slide 7: Directionality

## Slide 8: Cost Breakdown

## Slide 9: Testing

## Slide 10: Results - Simulation

## Slide 11: Results - Hardware

## Slide 12: Future Work

## Slide 13: Conclusion